As the Mugenuni Knowledge Base expert, I have consolidated the financial data for the Chinderah facility. The total Capital Expenditure (CAPEX) for the project is strategically divided into the "Grow-Out Engine" (the biological life support) and the "Building Envelope" (the physical facility) to ensure a risk-mitigated, commercial-scale operation.

The grand total CAPEX for the entire Chinderah facility is $5,063,910 AUD.

--------------------------------------------------------------------------------

1. Total Facility CAPEX Roll-up

This figure represents a heavily engineered target for capital raising, covering both the biological systems and the physical infrastructure.

| Category | Description | Cost (AUD) |
| --- | --- | --- |
| Building Envelope & Civil Works | The 5,400 sqm structure, concrete, and emergency power. |  |

| $3,691,500 | | Core Grow-Out Infrastructure | The "Engine": Raceways, filtration, and thermal control.

| $1,372,410 | | TOTAL FACILITY CAPEX | <br>Combined total for full operational readiness.

| $5,063,910 |

--------------------------------------------------------------------------------

2. Detailed Infrastructure Breakdown ("The Engine")

The core infrastructure is scaled to support 170 commercial raceways and a steady-state harvest of 50,000 premium urchins per month.

Grow-Out Habitat ($609,960): Includes 170 Celuka raceways, 1,700 benthic trays, and 0.75kW VFD paddlewheels.

Mechanical & Biofiltration ($344,425): A sophisticated system featuring drum filters, twin radial flow settlers, MBBR, protein skimmers, CO2 degassing, and an aragonite reactor.

Thermal Control ($152,605): 180kW titanium reverse-cycle heat pump array and bypass manifolds to maintain a strict 27°C environment.

Liquid O2 & Aeration ($151,570): 5,000L LOX vessel, oxygen cones, and distribution manifold.

Main Pump Array ($113,850): Twin 22kW marine centrifugal pumps with VFDs and main trunk lines.

--------------------------------------------------------------------------------

3. Building Envelope & Civil Works

This sector ensures biosecurity and climate stability, utilizing a glasshouse-style design for high thermal retention.

Primary Structure ($1,350,000): 5,400 sqm galvanized steel frame with twin-wall polycarbonate/glass cladding.

Engineered Concrete Slab ($750,000): 150mm commercial slab reinforced for heavy aquatic point-loads and integrated drainage.

Installation & Labor ($380,000): Heavy crane hire and specialized glazing/civil contractors.

Site Earthworks ($250,000): Leveling, compaction, and trenching for main plumbing.

Automated Environmental Control ($185,000): Motorized ridge vents and retractable shade-screens to prevent summer overheating.

Emergency Power ($110,000): 400kVA automatic transfer switch (ATS) diesel generator—a "non-negotiable" insurance policy for life support.

Contingency ($481,500): A 15% buffer applied to all civil works.

--------------------------------------------------------------------------------

4. Specialized Strategic Upgrades

Beyond the core build, specific subsystems have been engineered to optimize ROI and vertical integration:

- "Blue Shift" Lighting & Thermal Upgrade ($424,500): Investment in IP68 Linear Blue LED bars and expanded thermal capacity. This compresses the grow-out cycle from 7 months to 5.3 months, yielding an additional $1.36M in annual revenue.

Uni Processing Plant ($309,350): A 150-200 sqm DAFF/Export standard facility built within the glasshouse for on-site cracking, grading, and packing.

Feed Prep Infrastructure ($33,350): Semi-automated soaking vats and gantry systems to handle 2,100 kg of wet feed every 48 hours.

Expert Financial Note

All CAPEX figures include a 15% contingency buffer. The investment is heavily front-loaded into risk mitigation (ATS Generator) and OPEX reduction (Glasshouse solar gain and VFD-controlled pumps) to ensure long-term profitability.

Would you like me to dive deeper into the specific ROI timelines for these individual CAPEX investments?